## Slide 1
EU5332
Topics for Laboratories
Emma Kileel, REPRIEVE Clinical Coordinating Center
Andrew Lohrum, LDMS

## Slide 2: Shipping Specimens
Ship to the repository (BRI) per your assigned schedule, schedule is located on the FSTRF Portal, Lab Resources Folder
Sites will ship every September and March
Review Shipment of Specimens to BRI prior to shipping
Lab and shipping related documents are located in the Lab Resources Folder on the FSTRF Portal.

## Slide 3: Preparing for shipment

## Slide 4
Check to make sure you have all required supplies
Specimens in storage boxes accurately recorded in LDMS
Shippers: STP320
Medium STP-152: 250mL Absorbent strips
STP-710 Disposable 2-Part Secondary Pressure Vessel
Check shipping schedule on FSTRF portal to ensure you are shipping at the designated time
Shipments should be sent on Mondays, Tuesdays, or Wednesdays only to assure weekday delivery
BRI is closed on weekends and U.S. holidays and unable to receive the specimens
If a site/lab is unable to ship during its designated week, it must make arrangements with BRI to ship on another date (email: brireporsitory@afbr-bri.com)
Preparing for Shipment
Read or review EU5332 Shipment of Specimens to BRI (on FSTRF portal)
Shipping supplies will be provided by World Courier

## Slide 5
Check to make sure you have all required supplies
All samples will be stored in REPRIEVE EU5332 freezer boxes:
✔
QA/QC of samples
Keep the “Chain of Cold” at all times.
Generate LDMS Shipping Manifest document to include in shipment
Label all boxes as above!

## Slide 6
QA/QC and Preparation of Samples Complete
Keep the “Chain of Cold” at all times.
Wrap the labelled freezer box with absorbent strip (i.e. STP-152)
Insert freezer box in leak proof bag and Tyvek envelope (i.e. STP-730)
Record on Tyvek envelope: the LDMS batch number, From: [your lab number], To BRI, and the shipping date
Pack shipment using shipping supplies provided by WC, STP320System
Next Slide

## Slide 7
Place dry ice in Styrofoam box to cool down the inner box (i.e. STP-111)
Keep the “Chain of Cold” at all times.
In the pouch:
LDMS-generated shipping manifest
LDMS-generated box map
World Courier waybill
Insert the storage box into the inner box (i.e. STP-111)
Close the inner box and fill the shipper with dry ice.
Ensure all labels are properly in place
Email LDMS shipping file to BRI

## Slide 8: You’re almost ready to ship! But first…
Review instructions for overnight shipments
Complete the Ambient/Refrigerated/Frozen Specimen Shipment Notice Form located on FSTRF Portal
Complete International Shipment Checklist
All forms are located on the Frontier Science Portal under the ‘Lab Resources’ tab

## Slide 9
Review Instructions for Overnight Shipments document located on FSTRF Portal


## Slide 10
Complete the Ambient/Refrigerated/Frozen Specimen Shipment Notice Form
John Ward
(P) 301-881-7636
(F) 301-770-9811
999/Biomedical Research Institute (BRI)
World Courier



## Slide 11
Complete International Shipping Checklist


## Slide 12: Are you ready to ship?
Review instructions for overnight shipments
Complete the Ambient/Refrigerated/Frozen Specimen Shipment Notice Form
Complete International Shipping Checklist
Notify BRI of incoming shipment
  Include copy of Ambient/Refrigerated/Frozen Specimen Shipment Notice, the LDMS shipping file, and a copy of the International Shipping Checklist in notification email to BRI




## Slide 13: Post shipment

## Slide 14
BRI receives shipment
BRI performs QC on shipment received
BRI will send Shipment Evaluation Documentation to site lab and performance evaluation committee.
If no problem noted, site responsibilities complete
Problem noted on Shipment Evaluation Documentation
Site/Lab must respond to BRI within 1 week
Contact CRA’s Alba Sierto or Nuria Navarro

## Slide 15: Resources
REPRIEVE-EU Core Team Email: reprieve.coreeu5332@fstrf.org
WebLDMS: ldmshelp@fstrf.org
World Courier: opsmad@worldcourier.es
Biomedical Research Institute (BRI): brirepository@afbr-bri.com

## Slide 16: EU5332 Site Shipping Schedule
REPRIEVE-EU (EU5332) Site Specific Schedule, rev 04 Aug 2019 |  |  |  | 
Site Name | Site ID | Lab ID | Week of Month to Ship (Week 1 is defined as the first week of the month that includes a Monday) | Month to Ship
Hospital Clinic de Barcelona | 50 | 678 | Week 1 | Mar, Sept
Hospital Universitario La Paz | 51 | 679 | Week 1 | Mar, Sept
German Trias y Pujol University Hospital | 52 |  | Week 1 | Mar, Sept
Hospital Universitario Ramón y Cajal | 53 | 680 | Week 1 | Mar, Sept
Hospital Universitario de Bellvitge | 54 | 681 | Week 2 | Mar, Sept
Hospital General Universitario de Alicante | 56 |  | Week 2 | Mar, Sept
Hospital General Universitario De Elche | 57 | 688 | Week 2 | Mar, Sept
HGU Gregorio Marañon | 58 | 682 | Week 3 | Mar, Sept
Hospital 12 de Octubre | 59 | 683 | Week 3 | Mar, Sept
Hospital San Carlos | 60 | 684 | Week 3 | Mar, Sept
Hospital Universitario Valle de Hebrón | 61 | 685 | Week 3 | Mar, Sept
Hospital Universitario Basurto | 63 | 686 | Week 4 | Mar, Sept
Hospital Virgen de la Victoria | 64 | 687 | Week 4 | Mar, Sept

## Slide 17: Questions?