## Slide 1: LDMS Validation and Audit Readiness
Notes: New Title = “validating LDMS”

## Slide 2: Software Validation
Software validation checks that the software product satisfies or fits it’s intended use
The Vendor performs validation as part of the software development life cycle
The End-User performs validation to confirm the software functions as intended within the end user's environment
Each requires significant documentation, recording the process, results, and evaluation of the software
Notes: Underline vendor and end-user

## Slide 3: 21 CFR Part 11
§11.10a Validation of systems to ensure accuracy, reliability, consistent intended performance, and the ability to discern invalid or altered records

## Slide 4: FDA Guidance
Advises:
Testing at the user site is an essential part of software validation
Testing should take place at a user's site with the actual hardware and software that will be part of the installed system configuration
Testing is accomplished through either actual or simulated use of the software being tested within the context in which it is intended to function
User site testing should follow a pre-defined written plan with a formal summary of testing and a record of formal acceptance. Documented evidence of all testing procedures, test input data, and test results should be retained
General Principles of Software Validation; Final Guidance for Industry and FDA Staff (FDA, Center for Devices and Radiological Health, Center for Biologics Evaluation and Research, 2002) §5.2.6

## Slide 5: SOPs
Some examples of SOPs your lab should have in place pertaining to the LDMS
Data backup, recovery, and contingency plans
Alternative recording methods (in the case of system unavailability)
Computer user training
Access and User accounts (System security measures)
System setup/installation [available on FSTRF Portal and LDMS website]
System operating manual [available on LDMS website]
Validation and functionality testing
Guidance for Industry; Computerized Systems Used in Clinical Investigations (FDA, Center for Devices and Radiological Health, Office of the Commissioner, 2007) Appendix A
Notes: Setup/installation – available on FSTRF Portal/LDMS website

## Slide 6: End-User Validation Documentation

## Slide 7: End-User Validation Documentation
This process is independent of the developer
The documents need to be developed and maintained by each lab
If requested, Frontier Science will provide the validation documentation pertaining to the development of the LDMS
We have created sample SOPs and validation templates for our labs as tools to create their own suite of documentation
This process does not only apply to the LDMS, labs need to do a risk analysis to determine which software and what level of validation needs to be documented
Notes: 3rd bullet – pertaining to its software development lifecycle, including developer testing

## Slide 8: SOP: Validation and functionality testing
Documents the procedures for performing and documenting the validation of the software program within the end user's environment
Create a Validation Team to perform tasks
Perform a Risk Assessment to determine the steps and documentation required
Content of validation documents is described in templates
Validation Plan
User Specifications/Requirements
Installation Qualification
Testing Plan
Testing Report
System Release Plan/Validation Report
Validation documents are stored as “Essential Documents”

## Slide 9: Validation Templates
Validation Plan
Validation Team members and responsibilities
User Specification and Requirements
List all of the users’ specifications, requirements, and expectations for the system
Based on inputs from anticipated users, IT, Validation Team
Initial risk assessment
List of specific validation activities
List of proposed deliverables
Installation Qualification
Installation and configuration should follow all vendor guidelines
Document all configuration settings
Create back-up procedures
Can be based on a RFP

## Slide 10: Validation Templates, cont.
Testing Plan
Test Cases
Expected Results
Testing Report
Test Cases
Actual Results
Resolutions (if applicable)
System Release Plan
Plan for placement of the system into production
Can include the Validation Report, recording the successful validation of the program
Test cases should cover multiple scenarios to insure program functions as intended
Evaluation

## Slide 11: Test Cases
Acceptance Test Execution
Test case and its expected results
Test Results Evaluation
Does the test pass or fail
Error Evaluation/Resolution
Final Test Report
Resolutions for any failed tests
Records test cases, actual results, and any resolutions
Requires careful test planning, the definition of expected test results, and the recording of all test outputs
Adapted from: General Principles of Software Validation; Final Guidance for Industry and FDA Staff (FDA, Center for Devices and Radiological Health, Center for Biologics Evaluation and Research, 2002) §5.2.6

## Slide 12: Test Case – Example 1
After adding a new processing date/time in the Specimen Management module, go to the Reports module and run the Specimen Processing report. Use search criteria that will pull the specimen into the report (ie. PID and Specimen Date or Received Date)
Expected Result: The processing date and time will be present in the report and match the record in Specimen Management

## Slide 13: Test Case – Example 2
After importing a LDMS shipping file, create a shipment manifest in the View Shipment tab. Compare this document to the one provided by the sending lab.
Expected Result: Contents of each document match

## Slide 14: Reports for Audits available in the LDMS

## Slide 15: Reports
Specimen Log Report
  This report provides the user with a list of all of the specimens that the Lab has logged into their LDMS. The report also provides the primary and associated aliquot information for a given specimen.
Storage Detail Report
  This report provides a detailed summary of the exact specimens and location of all the aliquots that are stored in a container held within a lab’s storage structure hierarchy.
User Permissions
  This report provides the user with a summary of all the users in the LDMS and lists their current permissions within the LDMS.

## Slide 16: Transaction Log
21 CFR §11.10e - Use of secure, computer-generated, time-stamped audit trails to independently record the date and time of operator entries
This log is a historical record of all transactions performed by users in your LDMS database
The log is located in the Reports module Admin category
Search criteria can be used to limit the report by date range and/or user
Generate as a CSV file in order to search the contents in Excel

## Slide 17: Transaction Log, cont.
In the example above, we see the user name, transaction type, and affected data
In the first line, the report records that the Processing Tech initials were updated to “AL” for 9005-00023A00-001
The LDMS Transaction ID is a unique serial number for each transaction in the database

## Slide 18: Data Retrieval/Custom Report Builder
Data Retrieval (Windows) and Custom Report Builder (Web) allow users to export data from their LDMS
In this utility, users can construct reports from a large variety of data fields in Specimen, Storage, and Shipping categories
Searches are used to refine the information included in the report
Reports can be generated as a CSV, tab-delimited, or XML file

## Slide 19: Information for Audits on LDMS website

## Slide 20: LDMS Installation Report [Windows only]
Located on LDMS website
Get LDMS Download LDMS for Windows Download
Or, access it on the Frontier Science portal
LDMS User Support  Get LDMS Updates  Installation validation

## Slide 21: LDMS Installation Report, cont. [Windows only]
This report contains several tasks performed by lab staff to verify a successful new install or update of LDMS (Windows)
Here is an example of a few steps in the report used to verify a successful new installation or update of LDMS (Windows)
A signed copy of this report is to be returned to LDMS User Support and retained at the lab
Notes: Note this is required for windows LDMS

## Slide 22: Requesting documents for validation
On the LDMS website, select:
Resources  Validation
Complete the form and submit
Frontier Science will follow up with an access code to download your documentation packet
FSTRF’s software development and developer testing validation documentation is readily available for each version of LDMS
The end-user documents provided are for guidance purposes only, completed documents must be in place well in advance of an audit
Notes: 5th bullet – rewrite to say FSTRF’s software development and developer testing validation documentation is readily available for each version of LDMS

## Slide 23: Contact Us
If you are in the middle of an audit or if you know an audit is scheduled we are your resource.
Phone: (716) 834-0900 x7311
Email: ldmsinfo@fstrf.org
Web: https://www.ldms.org/contact/